{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":5,"n_cols":12,"rows_kept":5,"merged":[[0,0,0,11]]}
["2022-2023年度可燃气体探测器产品企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称（标称）","生产单位地址（标称）","产品名称","商标（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州研测安全技术有限公司","广州市天河区吉山新路街107号1栋236","珠海兴华电子科技有限公司","广东省珠海市香洲区南屏科技工业园屏北一路26号厂房A3-2","家用可燃气体探测器","Cinvall","JT-XH360A","2022-12-01","未发现不合格","----"]
[2,"广州研测安全技术有限公司","广州市天河区吉山新路街107号1栋236","珠海兴华电子科技有限公司","广东省珠海市香洲区南屏科技工业园屏北一路26号厂房A3-2","家用可燃气体探测器","Cinvall","JT-XH360A-J","2022-12-01","不合格","射频电磁场辐射抗扰度试验、低温（运行）试验"]
[3,"广州研测安全技术有限公司","广州市天河区吉山新路街107号1栋236","汉威科技集团股份有限公司","郑州高新开发区雪松路169号","工业及商业用途便携式可燃气体探测器","图形商标（汉威科技集团股份有限公司）","BT-JL270","2022-12-21","未发现不合格","----"]