{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":26,"n_cols":12,"rows_kept":26,"merged":[[0,0,0,11]]}
["2023年广州市塑料管材及管件产品质量监督抽查结果"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称\n（标称）","生产单位地址（标称）","产品名称","商标\n（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州市南沙区大岗永通五金店","广州市南沙区大岗镇豪岗大道14-18号荟翠雅苑30号","中山环宇实业有限公司","中山市东凤镇兴东路1号","PVC-U饮水管","锚牌","Ф20mm×2.0mm ----","2021-10-08","未发现不合格","——","——"]
[2,"广州市番禺区大龙众德达建筑材料商行","广州市番禺区大龙街市莲路罗家村段27号","佛山市南海德正塑业有限公司","----","PVC-U给水管","番塑 PANSU","Ф20mm×2.0mm×1.6MPa ----","2023-03-15","未发现不合格","——","——"]
[3,"广州市亿兴建材经营部","广州市白云区钟落潭镇登塘工业园街18号","佛山市三水粤桂通建材有限公司","----","PVC-U排水管","----","Ф50（A） ----","2023-02-15","未发现不合格","——","——"]
[4,"广州市亿兴建材经营部","广州市白云区钟落潭镇登塘工业园街18号","佛山市三水粤桂通建材有限公司","----","PVC-U排水管","----","Ф75（B） ----","2023-02-16","未发现不合格","——","——"]
[5,"广州枫叶管业有限公司","广州市花都区花都大道中213号","广州枫叶管业有限公司","广州市花都区花都大道中213号","PE高密度聚乙烯给水管","----","PE100 dn50×en4.6 SDR11 PN1.6MPa","2022-08-21","未发现不合格","——","——"]
[6,"广州枫叶管业有限公司","广州市花都区花都大道中213号","广州枫叶管业有限公司","广州市花都区花都大道中213号","PE高密度聚乙烯给水管","----","PE100 dn25×en2.3 SDR11 PN1.6MPa","2023-02-16","未发现不合格","——","——"]
[7,"广州市康诚利塑胶有限公司","广州市白云区钟落潭镇竹料乌溪路29号101","广州市康诚利塑胶有限公司","广州市白云区钟落潭镇竹料乌溪路29号101","无铅环保PVC-U给水管","美塑","dn75×3.6mm ----","2023-02-23","未发现不合格","——","——"]
[8,"广州市康诚利塑胶有限公司","广州市白云区钟落潭镇竹料乌溪路29号101","广州市康诚利塑胶有限公司","广州市白云区钟落潭镇竹料乌溪路29号101","PVC-U排水管管件","美塑","Ф50 直通（管箍） ----","2022-09-15","未发现不合格","——","——"]
[9,"广州市增城申发五金经营部","广州市增城区新塘镇新塘大道西“悦顺”装饰材料城A6-08号","日丰企业（佛山）有限公司","广东省佛山市三水工业园","PP-R双层管冷热水管材","日丰","S3.2，dn25×3.5，4m ----","2022-10-04","未发现不合格","——","——"]
[10,"广州广化塑料管道有限公司","广州市番禺区南村镇南草堂村鹤溪路4-1号全部","广州广化塑料管道有限公司","广州市番禺区南村镇南草堂村鹤溪路4-1号全部","PVC-U阻燃电工套管","图形商标","dn25mm，GY 405-25 ----","2023-04-15","未发现不合格","——","——"]
[11,"广州广化塑料管道有限公司","广州市番禺区南村镇南草堂村鹤溪路4-1号全部","广州广化塑料管道有限公司","广州市番禺区南村镇南草堂村鹤溪路4-1号全部","建筑排水用PVC-U（无铅）管材","图形商标","dn75×2.3mm×4m ----","2023-04-28","未发现不合格","——","——"]
[12,"广州超力管业有限公司","广州市花都区车城路25号101","广州超力管业有限公司","广州市花都区车城路25号101","给水用聚乙烯（PE）管材","图形商标","25×2.3,SDR11,PN1.6MPa,PE100,6米 ----","2023-03-26","未发现不合格","——","——"]
[13,"广州超力管业有限公司","广州市花都区车城路25号101","广州超力管业有限公司","广州市花都区车城路25号101","给水用聚乙烯（PE）管材","图形商标","50×4.6,SDR11,PN1.6MPa,PE100,6米 ----","2022-04-21","未发现不合格","——","——"]
[14,"公元管道（广东）有限公司","广东省广州市花都区秀全街马溪村溪秀路8号","公元管道（广东）有限公司","广东省广州市花都区秀全街马溪村溪秀路8号","给水用聚乙烯（PE）管材","永高","HDPE,dn40×3.7mm,SDR11,1.6MPa,PE100 ----","2023-03-18","未发现不合格","——","——"]
[15,"公元管道（广东）有限公司","广东省广州市花都区秀全街马溪村溪秀路8号","公元管道（广东）有限公司","广东省广州市花都区秀全街马溪村溪秀路8号","给水用聚乙烯（PE）管材","永高","HDPE,dn25×2.3mm,SDR11,1.6MPa,PE100 ----","2023-03-30","未发现不合格","——","——"]
[16,"广州市安美实业有限公司","广州市番禺区沙湾镇古东工业区骏业街52号","广州市安美实业有限公司","广州市番禺区沙湾镇古东工业区骏业街52号","波纹管","图形商标","Ф25mm×10m ----","2021-01-12","未发现不合格","——","——"]
[17,"广州市安美实业有限公司","广州市番禺区沙湾镇古东工业区骏业街52号","广州市安美实业有限公司","广州市番禺区沙湾镇古东工业区骏业街52号","电线管","图形商标","Ф50mm×4m ----","2021-01-15","未发现不合格","——","——"]
[18,"广州中亚实业有限公司","广州经济技术开发区永和经济区永顺大道西路2号","广州中亚实业有限公司","广州经济技术开发区永和经济区永顺大道西路2号","PVC-U排水管","图形商标","Ф75×2.3mm ----","2023-04-01","未发现不合格","——","——"]
[19,"广州市花都区花城鼎诚五金商行","广州市花都区三东大道179-1","日丰企业（佛山）有限公司","广东省佛山市三水工业园","阻燃绝缘PVC穿线管（无铅）家装专用","日丰","GY 305-20,3m ----","2022-07-29","未发现不合格","——","——"]
[20,"广州市新广发建材有限公司","广州市花都区花城街东圃六队6号1-2号铺（仅限办公用途）","佛山市凯骏达建材有限公司","佛山市南海区狮山科技工业园C区","PVC-U排水管","图形商标","Ф40 ----","2022-10-13","未发现不合格","——","——"]
[21,"广州市新广发建材有限公司","广州市花都区花城街东圃六队6号1-2号铺（仅限办公用途）","佛山市凯骏达建材有限公司","佛山市南海区狮山科技工业园C区","PVC电工套管","----","GY 205-20 ----","2023-03-02","未发现不合格","——","——"]
[22,"广州禾盛纵购建材有限公司","广州市花都区凤凰南路59号长大中心二层201室","广东联塑科技实业有限公司","广东省佛山市顺德区龙洲路龙江段联塑工业村","直通（管箍）","LESSO联塑","50，白色 ----","2023-04-14","未发现不合格","——","——"]
[23,"广州禾盛纵购建材有限公司","广州市花都区凤凰南路59号长大中心二层201室","广东联塑科技实业有限公司","广东省佛山市顺德区龙洲路龙江段联塑工业村","阻燃绝缘PVC电工套管（B）","LESSO联塑","GY 305-20,3.8m ----","2023-04-19","未发现不合格","——","——"]
[24,"广州中亚实业有限公司","广州经济技术开发区永和经济区永顺大道西路2号","广州中亚实业有限公司","广州经济技术开发区永和经济区永顺大道西路2号","PVC-U排水管","图形商标","Ф50×2.0mm ----","2023-04-08","严重不合格","铅限量","——"]